## Slide 1: Introduction to Digital & Analog Multimeters

## Slide 2: What do meters measure?
A meter is a measuring instrument. An ammeter measures current.
A voltmeter measures the potential difference (voltage) between
two points.
An ohmmeter measures resistance.
A multimeter combines these functions, and possibly some additional ones as well, into a single instrument.

## Slide 5: Selector switch
Note the off position. Turn off your meter when not in use.

## Slide 7: Simple circuit

## Slide 8: Multimeter as a Voltmeter
To use a multimeter as a voltmeter it is connected in parallel between the two points where the measurement is to be made.
The voltmeter provides a parallel pathway so it needs to be of a high resistance to allow as little current flow through it as possible.

## Slide 9: Select AC or DC voltage measurement.

## Slide 10: Mutimeter as a Voltmeter
Select the DC or AC Volts
Start at the highest volts scale and work your way down.
Probe leads are connected in parallel.
Be very careful to not touch any other electronic components within the equipment and do not touch the metal tips.

## Slide 11: Mutimeter as a Voltmeter

## Slide 13: Multimeter as a Ammeter
Turn Power Off before connecting multimeter.
Place multimeter in series with circuit.
Select highest current setting, turn power on, and work your way down.
Turn power off. Disconnect multimeter.

## Slide 14
Ammeter mode measures current in Amperes. To measure current you need to power off the circuit, you need to break the circuit so that the ammeter can be connected in series. All the current flowing in the circuit must pass through the ammeter. Meters are not supposed to alter the behavior of the circuit, so the ammeter must have a very LOW resistance. The diagrams below show the connection of a multimeter to measure current.

## Slide 15: Multimeter as a Ohmmeter
Power always has to be off
Component has to be removed from circuit Start at lowest Ohm
setting or maybe highest.

## Slide 16: Component being measured needs to be removed from the circuit.

## Slide 17: Review
A meter capable of checking for voltage, current, and resistance is called a multimeter,
As voltage is always relative between two points, a voltage- measuring meter ("voltmeter") must be connected to two points in a circuit in order to obtain a good reading. Be careful not to touch the bare probe tips together while measuring voltage, as this will create a short-circuit!
Remember to always check for both AC and DC voltage when using a multimeter to check for the presence of hazardous voltage on a circuit. Make sure you check for voltage between all pair-combinations of conductors, including between the individual conductors and ground!

## Slide 18: Review
When in the voltage-measuring ("voltmeter") mode, multimeters have very high resistance between their leads.
Never try to read resistance or continuity with a multimeter on a circuit that is energized.
Current measuring meters ("ammeters") are always connected in a circuit so the electrons have to flow through the meter.
When in the current-measuring ("ammeter") mode, multimeters have practically no resistance between their leads. This is intended to allow electrons to flow through the meter with the least possible difficulty. If this were not the case, the meter would add extra resistance in the circuit, thereby affecting the current.
Turn selector to off when not in use.

## Slide 19: Turn selector to off when not in use.