## Slide 1
Electrical wiring system

## Slide 2
Electrical wiring is generally refers to insulated conductor used to carry current and associated device.
Domestic electric appliances like lights, fans, washing machines, water pumps etc are connected to the supply through insulated wires which are controlled by switches.
The wiring diagram gives the connections of different appliances to the supply within a house or building.

## Slide 3
State electricity board provide electric supply up to a point outside the consumer premises. From this point consumer take the connection to his main board . Insulated electrical wires will be taken out to various places in the permises to supply power to different type of loads like lights , fans , refrigerators , room coolers , heaters,etc.

## Slide 4
The conductor material, insulation , size and the number of cores, specifies the electrical wires.
The conductors are usually of either copper or aluminium.
Various insulating materials like PVC,TRS and VIR are used.
The wire may be of single strand or multi strand.
Wires with combination of different diameters and the number of cores or strands are available.

## Slide 5
The selection of the wire is made depending on the requirement considering factors like current and voltage ratings, cost and application.
The current carrying capacity depends on the total area of the wires.

## Slide 6
Wires are drawn along the consumer’s building to distribute power to all points where load is situated.
Types of wiring according to uses;
Domestic wiring.
Commercial wiring.
Industrial wiring.

## Slide 7
1. life of installation
2. future extension or alterations
3. construction of building
4. fire hazards or other special conditions
5. corrosive fumes
6. dampness
7. type of wire and material used
8. nature of load (lighting of power)
9. safety of the system
10. cost of wiring system

## Slide 8
Durability : Type of wiring selected should conform to standard specifications, so that it is durable i.e. without being affected by the weather conditions, fumes etc.
Safety : The wiring must provide safety against leakage, shock and fire hazards for the operating personnel.
Appearance : Electrical wiring should give an aesthetic appeal to the interiors.
Cost: It should not be prohibitively expensive.

## Slide 9
Accessibility : The switches and plug points provided should be easily accessible. There must be provision for further extension of the wiring system, if necessary.
Maintenance Cost : The maintenance cost should be a minimum.
Mechanical safety : The wiring must be protected against any mechanical damage.

## Slide 10
These are the following types of wiring are:-
Cleat wiring
Wood casting wiring
CTS wiring or TRS wiring or Batten wiring
Conduit wiring
Metal sheathed wiring or lead sheathed wiring

## Slide 11
In this type of wiring , wood or plastc cleats are fixed to walls or cellings at regular intervals
.i.e.,0.6m between each cleat.
PVC insulated cables are taken through the holes of each cleat .
Cleat support and hold wires.
This is cheap method .
Is used for temporary installations.
It is not suitable for home .
It is outdated method.s

## Slide 12
This System uses insulated Cables sub protected in porcelain cleats.

## Slide 14
In this cable is run through a wood casing having grooves.
The wood casing is of required fixed length with parallel grooves that accommodates the cables.
The wooden casing is fixed to the walls or ceiling with screws.
After placing the cables inside the grooves of casing , a wooden cap with grooves is placed on it to cover the cables.
This is also cheap wiring system.
There is a high risk of fire in case of short circuits.

## Slide 16
In this , insulated wires are run through the straight teak wooden battens.
The wooden battens are fixed on the ceiling or walls by plugs and screws.
The cables are fitted onto the battens by using tinned brass link clips.
These clips are fixed to the battens with rust-resistance nails.
This wiring installation is simple
and cheap.
This system takes less time to install.
These are mainly used for indoor installations

## Slide 17
In this wiring , PVC cables are taken through either PVC conduit pipes or through steel conduit pipes.
This conduit wiring can be either surface conduit wiring or concealed conduit wiring.
If the conduits are run inside the surface of the walls and ceilings and are covered with plastering, it is called as conduit wiring.

## Slide 18
Surface conduit wiring is used in industries to connect the heavy motors.
Concealed wiring is the most popular and common method of wiring the residential buildings.
This method is the safest method of wiring and also look beautiful.

## Slide 23
Electrical drawings plays an important role in electrical installation works that they convey information about connection of various devices and equipments with mains.
It provides the complete information,and also helps to assemble the various equipments.

## Slide 24
It is a functional drawing which shows and describes the main operating principles of the equipments or devices.
It consists of :-
-principle functions (represented by blocks)
- line connections (shows relationship between them).
The diagram is usually drawn before implementing a circuit diagram.

## Slide 25
Not give any detailed information.
leaves the information about smaller cmponents.

## Slide 26
Is a simplified notation of an electrical system.
Called as one-line diagram or single line diagram .
Similar to the block diagram
It consists of symbols to represent the components.
Lines to represent the wires or conductors which connects the components together.
the line diagram is derived from the block diagram.

## Slide 27
Electrical circuit is graphically represented in a simplified manner.
it gives the position information of various elements (in cm or m or mm)
Doesn’t give any layout of the parts and their detail wiring information of the components.

## Slide 28
Wiring diagram is a representation of the circuit , shows the wiring between parts or elements.
Gives detailed information about wiring .
It includes:-
-relative position
-arrangement of devices
-terminals on the devices
It shows power supplies and earth connections .

## Slide 30: Thank you